Microbiology Sample Containers:

A General Practice Field Guide

|  | 20ml Sterile Universal Fluids and aspirates Sputum Mycology samples Urines for legionella antigens |  | 10ml Urine Tubes Urines for M,C&S Use boric red top if possible |
| --- | --- | --- | --- |
|  | 20ml Blue Top with Spoon All faeces samples (5ml minimum) |  | Pernasal Swab Pertussis PCR Please send swab in the dry tube Do not use the charcoal gel tube |
|  | Liquid eSwab General M,C&S for bacteria including wounds and HVS |  | Viral Transport Medium All virology swabs including nose and throat swabs for respiratory viruses (e.g. flu), vesicle and genital swabs |
|  | APTIMA Swab Chlamydia and gonorrhoea molecular test |  | APTIMA Urine Tube Chlamydia and gonorrhoea molecular test |
|  | Red Top Blood Tube for Serum All serology tests |  | Purple Top EDTA Blood Tube All molecular (DNA and RNA) microbiology and virology blood tests |

Please remember that all samples need to be labelled with two patient identifiers that match with those on the request form, sufficiently filled and tightly capped. Tests required and relevant clinical history should be clearly stated on the request form.

For more information visit www.heftpathology.com or call the Public Health Laboratory Birmingham on  0121 424 3111                                                                                                                         November 2022